## Slide 1
A comparative study of different solar power tracking control techniques.
Muzzammil Mooraby
&
Dr Sayed Hassen
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
28th Nov 2018
Discussion
Conclusion

## Slide 2
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Introduction
Aims &
Objectives
Problems
Encountered
Results
Discussion
Conclusion
Methodology
Video demo

## Slide 3
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
With the constant depletion of our fossil fuels, engineers are trying to find alternative sources of energy.
Solar energy is the energy which is the most available to us. This energy just needs to be harvested efficiently.
One of the easiest way is by using a solar tracker which can increase energy yield by 20% to 50 %.
.
Introduction

## Slide 4
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Problem definition
Converting irradiation into electricity is the main function of a photovoltaic panel. Then, why not orientate the solar panel towards the maximum power point so that it can yield the most energy?
.

## Slide 5
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Aim
The aim is to test the feasibility of a new control algorithm which tracks power output.
.
Objectives
To assess the dependence of photovoltaic systems on solar irradiation.
To determine the types of systems available to track the sun.
To assess the difference between open and closed loop systems.
To design and model an extremum seeking controller(ESC).
To do a comparative study of ESC and other methods available.
.

## Slide 6
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion

## Slide 7
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
ESC
CLC
Exp 1
Exp 2
Calculation
OLC
Exp 3
Exp 4
P&O
CLC
Non-tracking

## Slide 8
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
How experiment was conducted ?
All experiments were performed at the same exact location.
Data were collected on a PC
All data were resampled at a rate of 15 minutes.
The test duration of all experiments were the same.
All experiments were performed within a week.
The highest light sensor values, were considered
Design constraint

## Slide 9
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Problem
1
Mechanical Issue : Getting the required range of motion
Even though simulations on solidworks have shown otherwise, the prototype did not respond as expected.
Solution
The system was redesigned specifically to work during the experiments. By doing so, stability was increased and vibrational stresses were reduced.

## Slide 10
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Before
After

## Slide 11
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Problem
2
Controller Issue
The precision and accuracy of the controller depend on several factors:
Hardware properties
Weather conditions
Parameters of the algorithm
Solution
The right tradeoff between accuracy and precision had to be chosen for the parameters, so that the tracker could work in all weather conditions.

## Slide 12
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Problem
3
Light sensor issue
Could not get access to an appropriate sensor
The LDR operates in a very small range of input.
Solution
To be able to measure sun light intensity, the light source was to be attenuated.

## Slide 13
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Result 1
Chart: Power Comparison: ESC vs Non-tracking
| 0.31250000000000033 | 0.32291666666666741 | 0.33333333333333331 | 0.34375 | 0.35416666666666707 | 0.36458333333333331 | 0.37500000000000033 | 0.38541666666666741 | 0.39583333333333331 | 0.40625 | 0.41666666666666707 | 0.42708333333333331 | 0.43750000000000033 | 0.44791666666666707 | 0.45833333333333326 | 0.46875 | 0.47916666666666707 | 0.48958333333333331 | 0.5 | 0.51041666666666585 | 0.5208333333333337 | 0.53125 | 0.54166666666666652 | 0.5520833333333337 | 0.5625 | 0.57291666666666652 | 0.58333333333333337 | 0.59375 | 0.60416666666666652 | 0.6145833333333337 | 0.62500000000000078 | 0.63541666666666652 | 0.64583333333333426 | 0.65625000000000078 | 0.66666666666666663 | 0.67708333333333426 | 0.6875 | 0.69791666666666652 | 0.7083333333333337 | 0.71875000000000078 | 0.72916666666666652
Power ESC | 15 | 20 | 24 | 26 | 29 | 31 | 33.3 | 34.48 | 35.7 | 35.2 | 34.9 | 32.7 | 33.3 | 34.88 | 34.28 | 35.37 | 35.44 | 36.1 | 35.77 | 36.1 | 37 | 35.8 | 35.4 | 33.9 | 34.6 | 34.8 | 29.8 | 30.3 | 33.7 | 33.9 | 33.43 | 32.87 | 32.25 | 31.9 | 30.4 | 29.8 | 27.8 | 25.7 | 27.6 | 24.8 | 18.8
Power non-tracking | 12 | 13 | 14 | 16 | 18 | 21 | 24 | 28.1 | 30.4 | 32.97 | 26.5 | 30.41 | 33 | 33 | 32.88 | 33.96 | 34.47 | 33.5 | 34.53 | 35.25 | 34.96 | 34.67 | 33.6 | 32.5 | 31.45 | 31.78 | 29.87 | 28.14 | 29.7 | 27.68 | 26.4 | 25.32 | 22.7 | 18 | 12 | 17 | 15.8 | 14.2 | 12.4 | 11.8 | 11.7
Discussion
Conclusion
References

## Slide 14
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Result 2
Chart: Power comparison: ESC vs Calculation
| 0.31250000000000033 | 0.32291666666666741 | 0.33333333333333331 | 0.34375 | 0.35416666666666707 | 0.36458333333333331 | 0.37500000000000033 | 0.38541666666666741 | 0.39583333333333331 | 0.40625 | 0.41666666666666707 | 0.42708333333333331 | 0.43750000000000033 | 0.44791666666666707 | 0.45833333333333326 | 0.46875 | 0.47916666666666707 | 0.48958333333333331 | 0.5 | 0.51041666666666585 | 0.5208333333333337 | 0.53125 | 0.54166666666666652 | 0.5520833333333337 | 0.5625 | 0.57291666666666652 | 0.58333333333333337 | 0.59375 | 0.60416666666666652 | 0.6145833333333337 | 0.62500000000000078 | 0.63541666666666652 | 0.64583333333333426 | 0.65625000000000078 | 0.66666666666666663 | 0.67708333333333426 | 0.6875 | 0.69791666666666652 | 0.7083333333333337 | 0.71875000000000078 | 0.72916666666666652
Power ESC | 15 | 20 | 24 | 26 | 29 | 31 | 33.3 | 34.48 | 35.7 | 35.2 | 34.9 | 32.7 | 33.3 | 34.88 | 34.28 | 35.37 | 35.44 | 36.1 | 35.77 | 36.1 | 37 | 35.8 | 35.4 | 33.9 | 34.6 | 34.8 | 29.8 | 30.3 | 33.7 | 33.9 | 33.43 | 32.87 | 32.25 | 31.9 | 30.4 | 29.8 | 27.8 | 25.7 | 27.6 | 24.8 | 18.8
Power calculation | 14 | 16 | 17 | 18 | 20 | 24 | 27 | 29 | 30 | 31 | 31 | 33 | 33 | 33 | 32 | 33 | 33 | 34 | 33 | 33 | 33.9 | 34.5 | 35.2 | 34.7 | 33.6 | 33 | 33 | 32 | 30 | 28 | 27 | 32 | 31 | 31 | 29 | 26 | 21 | 17 | 14 | 13 | 13
Discussion
Conclusion
References

## Slide 15
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Result 3
Chart: Power comparison: ESC vs P&O
| 0.31250000000000033 | 0.32291666666666741 | 0.33333333333333331 | 0.34375 | 0.35416666666666707 | 0.36458333333333331 | 0.37500000000000033 | 0.38541666666666741 | 0.39583333333333331 | 0.40625 | 0.41666666666666707 | 0.42708333333333331 | 0.43750000000000033 | 0.44791666666666707 | 0.45833333333333326 | 0.46875 | 0.47916666666666707 | 0.48958333333333331 | 0.5 | 0.51041666666666585 | 0.5208333333333337 | 0.53125 | 0.54166666666666652 | 0.5520833333333337 | 0.5625 | 0.57291666666666652 | 0.58333333333333337 | 0.59375 | 0.60416666666666652 | 0.6145833333333337 | 0.62500000000000078 | 0.63541666666666652 | 0.64583333333333426 | 0.65625000000000078 | 0.66666666666666663 | 0.67708333333333426 | 0.6875 | 0.69791666666666652 | 0.7083333333333337 | 0.71875000000000078 | 0.72916666666666652
Power ESC | 15 | 20 | 24 | 26 | 29 | 31 | 33.3 | 34.48 | 35.7 | 35.2 | 34.9 | 32.7 | 33.3 | 34.88 | 34.28 | 35.37 | 35.44 | 36.1 | 35.77 | 36.1 | 37 | 35.8 | 35.4 | 33.9 | 34.6 | 34.8 | 29.8 | 30.3 | 33.7 | 33.9 | 33.43 | 32.87 | 32.25 | 31.9 | 30.4 | 29.8 | 27.8 | 25.7 | 27.6 | 24.8 | 18.8
Power P&O | 14 | 19 | 25 | 26 | 28 | 30 | 32 | 35 | 35.5 | 35.8 | 36 | 35.9 | 32 | 36.3 | 35.4 | 35.2 | 32.2 | 36.5 | 35.8 | 36 | 36.8 | 37.2 | 36.9 | 36.7 | 34.2 | 34.1 | 33.7 | 32.6 | 32.5 | 34 | 33.3 | 32.6 | 32.2 | 31.4 | 29.8 | 28 | 25.5 | 25.3 | 25 | 24 | 18
Discussion
Conclusion
References

## Slide 16
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
Chart: Energy (Wh)
| ESC | Non-tracking | Calculation | P&O
Energy yield | 319.9 | 258.2 | 282.2 | 319.6
Energy consumed | -72 | 0 | -4.8 | -72
Energy yield
Overall ESC and P&O collected the most amount of energy.
.
Conclusion
References

## Slide 17
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Net Resultant Energy
Chart: Net Energy
| Net energy
ESC | 247.9
Non-tracking | 258.2
Calculation | 277.4
P&O | 247.6
It can be observed that the Calculation based system has better net energy yield.
.
Conclusion
References

## Slide 18
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
The power tracker has been successfully realised. It has been achieved with a mixed result. Although it harvests more energy than the compared methods, the net energy received is considerably lower.
For Mauritius, a fuzzy logic algorithm combining ESC and calculation based method should improve accuracy and precision. Hence, yielding more energy than any tested system in this research.
Also, all objectives have been achieved in the research
References
Conclusion

## Slide 19
Solar tracking for optimum power generation using Extremum Seeking control
Muzzammil Mooraby
Outlines
Introduction
Aims & Objectives
Methodology
Problems Encountered
Results
Discussion
Conclusion
References
“Our Energy Choices: Coal and Other Fossil Fuels | Union of Concerned Scientists,” Union of Concerned Scientists. [Online]. Available: http://www.ucsusa.org/clean-energy/coal-and-other-fossil-fuels#.Wf1v9WhL-Uk. [Accessed: 04-Nov-2017].
Caroline Thompson, “The Effects of the Angle of Sunlight on a Solar Panel | LIVESTRONG.COM,” 2015. [Online]. Available: https://www.livestrong.com/article/197888-the-effects-of-the-angle-of-sunlight-on-a-solar-panel/. [Accessed: 29-Oct-2017].
S. Z. S. Hassen and I. R. Petersen, “Extremum Seeking Control of an Optical Cavity ⋆,” pp. 11787–11792, 2014.
List of references
Notes: Here is my list of references

## Slide 21
THANK YOU